## Slide 1
A.C. Vandaele, A. Mahieux, V. Wilquet, S. Chamberlain, B. Ristic, S. Robert, I.R. Thomas, L. Trompet, and J.-L. Bertaux
(1) Royal Belgian Institute for Space Aeronomy (BIRA-IASB), Brussels, Belgium
(2) LATMOS, Paris, France
KONINKLIJK BELGISCH INSTITUUT VOOR RUIMTE-AERONOMIE INSTITUT ROYAL D’AERONOMIE SPATIALE DE BELGIQUE ROYAL BELGIAN INSTITUTE OF SPACE AERONOMY KONINKLIJK BELGISCH INSTITUUT VOOR RUIMTE-AERONOMIE INSTITUT ROYAL D’AERONOMIE SPATIALE DE BELGIQUE ROYAL BELGIAN INSTITUTE OF SPACE AERONOMY KONINKLIJK
KONINKLIJK BELGISCH INSTITUUT VOOR RUIMTE-AERONOMIE INSTITUT ROYAL D’AERONOMIE SPATIALE DE BELGIQUE ROYAL BELGIAN INSTITUTE OF SPACE AERONOMY KONINKLIJK BELGISCH INSTITUUT VOOR RUIMTE-AERONOMIE INSTITUT ROYAL D’AERONOMIE SPATIALE DE BELGIQUE ROYAL BELGIAN INSTITUTE OF SPACE AERONOMY KONINKLIJK
Neutral composition of the Venus atmosphere measured by SPICAV/SOIR on board VEX: a compendium

## Slide 2: Outline
The SOIR instrument
SOIR thermal profiles
Trace gases
  SO2
  HCl, HF
  CO
  H2O/HDO
Aerosols: Wilquet et al. (Poster Session 1)
Last updates to the PSA

## Slide 3: The SOIR instrument
Venus Express (VEx) - ESA
  Launch in Baikonur in 2006
  End in Dec. 2014
SOIR spectrometer
  Channel of SPICAV/SOIR on VEx
  Echelle grating + AOTF
  2200 cm-1 to 4400 cm-1 (2.2 µm to 4.4 µm)
  Divided in 94 diffracting orders
  Order width: 20 to 37 cm-1
  Spectral resolution: 0.1 to 0.25 cm-1
Measures 4 orders per second during an occultation
Collimation and camera lens together in 1 parabolic mirror
Detector optics
and detector
AOTF
Echelle grating

## Slide 4: SOIR thermal profiles: Introduction
SOIR measures the CO2 number density between 70 and 170 km (at max)
  Measured in different wavelength regions simultaneously
  In each wavelength domain, atmospheric saturation is accounted for
  Profiles from 4 wavelength domains are joined using a moving average procedure
The temperature is derived assuming the hydrostatic equilibrium
  The top boundary condition is set to
    VAST model if ztop < 140 km
    dT/dz = 0 if ztop > 140 km
All profiles present the same vertical, with a succession of warm and cold layers
A very large variability is observed with time on the short term
  Weak dependence with terminator side
  Weak dependence with the latitude

## Slide 5: SOIR thermal profiles: CO2 density and temperatures
Focus on CO2 observed on a wide range of altitudes
Dataset = 122 occultations (62 dusk, 60 dawn)
Model validation:
  Bougher et al (Thursday)
  Mahieux et al (Poster 2)

## Slide 6: Trace gases: SO2
Long term variations
ISSI international Team (poster session)

## Slide 7: Trace gases: HCl & HF
H35CL
H37CL

## Slide 8: Trace gases: CO (1- Observations)
Nb Obs. | North hemisphere |  | South hemisphere | 
 | MT | ET | MT | ET
0°-30° | 8 | 9 | 11 | 15
30°-60° | 3 | 3 | 16 | 20
60°-70° | 3 | 7 | 6 | 6
70°-80° | 12 | 13 | 4 | 5
80°-90° | 38 | 26 | 6 | 7
Total | 64 | 58 | 43 | 53
Morning T obs.
Evening T obs.
Vandaele et al., Icarus (2016)

## Slide 9: Trace gases: CO (2- Retrieval)

## Slide 10: Trace gases: CO (3- Densities)
Morning T obs.
Evening T obs.
VIRA (LST 12h)
VIRA (LST 24h)
Lat 60-70 N
Lat 60-70 S
Lat 80-90 S
Lat 80-90 N
60
160
Altitude
CO density
CO density
60
160
Altitude

## Slide 11: Trace gases: CO (4- Morning/Evening)
3 Latitude bins
  Equator region
  High-latitudes
  Poles
Morning & Evening observations separated
Equator
Mid-Latitudes
Poles
<
<
ET
<
MT
Inversion
138 km
129 km
120 km
111 km
102 km
93 km
84 km
CO vmr
ET
>
MT

## Slide 12: Trace gases: CO (5- Latitudinal variations)
Equator
Mid-Latitudes
Poles
<
<
138 km
129 km
120 km
111 km
102 km
93 km
84 km
CO vmr
MT & ET together
N – S hemispheres:
  Same trend
  Less variations in S
Equator
Mid-Latitude
Poles
<
<

## Slide 13: Trace gases: H2O/HDO (1 – Introduction)
H2O and HDO are both detected by the SOIR instrument
  Fedorova et al., JGR 2008 showed that
    VMR for H2O is 1.16 ± 0.24 ppm
    VMR for HDO is 0.086 ± 0.020ppm
    HDO/H2O 240 times larger than on Earth
  Analysis was only performed on 22 orbits mainly from high latitudes, taken between April 2006 – August 2007
We have extended the study to include 244 orbits that contain either H2O and/or HDO that were taken across most latitudes and obtained over approx. 9 years. These results are still a work in progress.

## Slide 14: Trace gases: H2O/HDO (2 – Observations)
H2O: 244 orbits
Density
VMR

## Slide 15: Trace gases: H2O/HDO (2 – Observations)
HDO: 213 orbits
Density
VMR

## Slide 16: Last updates to PSA
Improved way of defining the ‘Solar Reference’ spectrum
Regression
zone
Occultation
zone
Transmittance values are
> 1
OLD situation
Criteria
, i W
i W
i W
i V

## Slide 17: Conclusions
Re-analyse of the updated transmittances is on-going
Still A LOT to do with this incredible data set
  Improve the retrieval from the existing SOIR spectra
    Include the Detection Limits (OCS, etc)
    Correlation between the detected species (H2O, SO2) and aerosols
  Perform comparison/synergy with other VEX datasets and/or with ground-based/HST observations
  Validation wrt existing Venus atmosphere Models (GCM, 1-d RT)
Come to the « Venus Express Legacy session »
  Wedn. afternoon